## Sheet1
Researcher | Project | SlideID | Automated_PlateID | SlideN | Slide_barcode | Species | Tissue_1 | Sample_1 | Age_1 | Genotype_1 | Background_1 | Tissue_2 | Sample_2 | Age_2 | Genotype_2 | Background_2 | Tissue_3 | Sample_3 | Age_3 | Genotype_3 | Background_3 | Tissue_4 | Sample_4 | Age_4 | Genotype_4 | Background_4 | Technology | Image_cycle | Channel1 | Target1 | Channel2 | Target2 | Channel3 | Target3 | Channel4 | Target4 | Channel5 | Target5 | Channel6 | Target6 | Channel7 | Target7 | Post-stain | Date | Measurement | Low_mag_reference | Mag_Bin_Overlap | Sections | SectionN | z-planes | Notes_1 | Notes_2 | Export_location | Archive_location | Harmony_copy_deleted | Team_dir | Pipeline | Microscope | Stitching_Z | Stitching_ReferenceChannel | Registration_ReferenceCycle | Registration_ReferenceChannel | OMERO_project | OMERO_DATASET | OMERO_internal_group | OMERO_internal_users
ob1 | MJ_THC | MJ_THC_CGaP_1167 |  | 2 | 1B2C4D1 | Hsa | Brain | Hob2-BRA-0-FFPE-1-S22 | 14 GW |  | TS21 | [15 empty] | RNAscope 4-plex | 1 | DAPI | Nucleus | Opal 520 | SOX2 | Opal 570 | SATB2 | Opal 650 | GAD1 | Atto 425 | HOPX | [5 empty] | 2022-02-25 | 1b | 1a | 20X_bin1_7%overlap | 1 | 1 | 15x1.5 | Whole tissue, DAPI 650 // 520 570 // 425 | image good | 0HarmonyExports\MJ_THC
Note on B1: Must match an OMERO group
Note on AD1: Name of the channel in the raw image
Note on AE1: Name of the channel once imported to OMERO
Note on BH1: Use "max" or leave blank for max-z projection. Use the string "none" if you want full z stack

## Sheet2
-------------------
Warning
2/25/2022 8:20:09 PM |  | Flatfield correction profile estimation completed (available method: 'Basic') for '220225_202039-V – Measurement 1a'. |  |  | 220225_202039-V | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_162940-V – Measurement 1b'. | [6 empty] | 220227_162940-V
The analysis sequence has become incompatible with the selected input data. |  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220225_202039-V – Measurement 1b'. |  |  | 220225_202039-V | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_123726-V – Measurement 1a'. | [6 empty] | 220227_123726-V
The following expected channels are missing: |  | Flatfield correction profile estimation completed (available method: 'Basic') for '220225_211924-V – Measurement 1a'. |  |  | 220225_211924-V | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_123726-V – Measurement 1b'. | [6 empty] | 220227_123726-V
| - HOECHST 33342 (Filter Image (2), Filter Image). | Flatfield correction profile estimation completed (available method: 'Advanced') for '220225_211924-V – Measurement 1b'. |  |  | 220225_211924-V | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_133447-V – Measurement 1a'. | [6 empty] | 220227_133447-V
|  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220225_230433-V – Measurement 1a'. |  |  | 220225_230433-V | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_140419-V – Measurement 1a'. | [6 empty] | 220227_140419-V
|  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220225_230433-V – Measurement 1b'. |  |  | 220225_230433-V | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_140419-V – Measurement 1b'. | [6 empty] | 220227_140419-V
Original Acapella Message: |  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220226_022917-V – Measurement 1a'. |  |  | 220226_022917-V | Flatfield correction profile estimation completed (available method: 'Basic') for '220227_145150-V – Measurement 1a'. | [6 empty] | 220227_145150-V
|  | Flatfield correction profile estimation completed (available method: 'Basic') for '220226_022917-V – Measurement 1b'. |  |  | 220226_022917-V | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_145150-V – Measurement 1b'. | [6 empty] | 220227_145150-V
<message type="warning" identifier=""> |  | Flatfield correction profile estimation completed (available method: 'Basic') for '220226_053124-V – Measurement 1a'. |  |  | 220226_053124-V | Flatfield correction profile estimation completed (available method: 'Basic') for '220227_153849-V – Measurement 1a'. | [6 empty] | 220227_153849-V
<title>The analysis sequence has become incompatible with the selected input data.</title> |  | Flatfield correction profile estimation completed (available method: 'None') for '220226_053124-V – Measurement 1b'. |  |  | 220226_053124-V | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_153849-V – Measurement 1b'. | [6 empty] | 220227_153849-V
<text>The following expected channels are missing: |  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220226_060351-V – Measurement 1a'. |  |  | 220226_060351-V | Flatfield correction profile estimation completed (available method: 'Basic') for '220227_162940-V – Measurement 1a'. | [6 empty] | 220227_162940-V
| - HOECHST 33342 (Filter Image (2), Filter Image).</text> | Flatfield correction profile estimation completed (available method: 'Advanced') for '220226_060351-V – Measurement 1b'. |  |  | 220226_060351-V
<technical_info> |  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220226_085149-V – Measurement 1a'. |  |  | 220226_085149-V
</technical_info> |  | Flatfield correction profile estimation completed (available method: 'Basic') for '220226_085149-V – Measurement 1b'. |  |  | 220226_085149-V
</message> |  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220226_103518-V – Measurement 1a'. |  |  | 220226_103518-V
220227_123726-V
------------------- | [11 empty] | 220227_123726-V
Information | [11 empty] | 220227_133447-V
2/25/2022 8:19:47 PM | [11 empty] | 220227_133447-V
Acquiring image alignment parameters… The measurement will be started subsequently. | [11 empty] | 220227_140419-V
220227_140419-V
220227_145150-V
------------------- |  |  | ------------------- | [8 empty] | 220227_145150-V
Information |  |  | Information | [8 empty] | 220227_153849-V
2/25/2022 8:20:05 PM |  |  | 2/27/2022 5:22:46 PM | [8 empty] | 220227_153849-V
Flatfield correction profile estimation started for '220225_202039-V – Measurement 1a'. |  |  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_162940-V – Measurement 1b'. | [8 empty] | 220227_162940-V
220227_162940-V
------------------- |  |  | -------------------
Information |  |  | Information
2/25/2022 8:36:39 PM |  |  | 2/27/2022 12:36:37 PM
Flatfield correction profile estimation completed (available method: 'Basic') for '220225_202039-V – Measurement 1a'. |  |  | Acquiring image alignment parameters… The measurement will be started subsequently.
It was not possible to determine the foreground profile for Channel 'HOECHST 33342'. | [6 empty] | Measurement 1b | 220228_060826-V | Measurement | 2/28/2022 6:35:05 AM | PKI | 258.7 GB
[7 empty] | Measurement 1b | 220228_030838-V | Measurement | 2/28/2022 3:36:50 AM | PKI | 353.5 GB
------------------- |  |  | ------------------- |  |  |  | Measurement 1b | 220228_000946-V | Measurement | 2/28/2022 12:36:03 AM | PKI | 381.7 GB
Information |  |  | Information |  |  |  | Measurement 1b | 220227_210426-V | Measurement | 2/27/2022 9:31:01 PM | PKI | 378.6 GB
2/25/2022 8:48:18 PM |  |  | 2/27/2022 12:36:54 PM
Acquiring image alignment parameters… The measurement will be started subsequently. |  |  | Flatfield correction profile estimation started for '220227_123726-V – Measurement 1a'.
------------------- |  |  | -------------------
Information |  |  | Warning
2/25/2022 8:49:38 PM |  |  | 2/27/2022 12:36:58 PM
Flatfield correction profile estimation started for '220225_202039-V – Measurement 1b'. |  |  | The analysis sequence has become incompatible with the selected input data.
The following expected channels are missing:
- HOECHST 33342 (Filter Image (2), Filter Image).
-------------------
Information
2/25/2022 9:16:57 PM |  |  | Original Acapella Message:
Flatfield correction profile estimation completed (available method: 'Advanced') for '220225_202039-V – Measurement 1b'.
<message type="warning" identifier="">
<title>The analysis sequence has become incompatible with the selected input data.</title>
------------------- |  |  | <text>The following expected channels are missing:
Information |  |  |  | - HOECHST 33342 (Filter Image (2), Filter Image).</text>
2/25/2022 9:18:24 PM |  |  | <technical_info>
Acquiring image alignment parameters… The measurement will be started subsequently. |  |  | </technical_info>
</message>
------------------- |  |  | -------------------
Information |  |  | Information
2/25/2022 9:18:41 PM |  |  | 2/27/2022 12:52:26 PM
Flatfield correction profile estimation started for '220225_211924-V – Measurement 1a'. |  |  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_123726-V – Measurement 1a'.
------------------- |  |  | -------------------
Warning |  |  | Information
2/25/2022 9:18:58 PM |  |  | 2/27/2022 1:03:34 PM
The analysis sequence has become incompatible with the selected input data. |  |  | Acquiring image alignment parameters… The measurement will be started subsequently.
The following expected channels are missing:
- HOECHST 33342 (Filter Image (2), Filter Image).
-------------------
Information
Original Acapella Message: |  |  | 2/27/2022 1:04:51 PM
Flatfield correction profile estimation started for '220227_123726-V – Measurement 1b'.
<message type="warning" identifier="">
<title>The analysis sequence has become incompatible with the selected input data.</title>
<text>The following expected channels are missing: |  |  | -------------------
| - HOECHST 33342 (Filter Image (2), Filter Image).</text> |  | Information
<technical_info> |  |  | 2/27/2022 1:32:26 PM
</technical_info> |  |  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_123726-V – Measurement 1b'.
</message>
------------------- |  |  | -------------------
Information |  |  | Information
2/25/2022 9:35:05 PM |  |  | 2/27/2022 1:33:47 PM
Flatfield correction profile estimation completed (available method: 'Basic') for '220225_211924-V – Measurement 1a'. |  |  | Acquiring image alignment parameters… The measurement will be started subsequently.
It was not possible to determine the foreground profile for Channel 'HOECHST 33342'.
------------------- |  |  | -------------------
Information |  |  | Information
2/25/2022 9:49:18 PM |  |  | 2/27/2022 1:34:04 PM
Acquiring image alignment parameters… The measurement will be started subsequently. |  |  | Flatfield correction profile estimation started for '220227_133447-V – Measurement 1a'.
------------------- |  |  | -------------------
Information |  |  | Warning
2/25/2022 9:50:35 PM |  |  | 2/27/2022 1:34:10 PM
Flatfield correction profile estimation started for '220225_211924-V – Measurement 1b'. |  |  | The analysis sequence has become incompatible with the selected input data.
The following expected channels are missing:
- HOECHST 33342 (Filter Image (2), Filter Image).
-------------------
Warning
2/25/2022 10:00:05 PM |  |  | Original Acapella Message:
The daily dump of the database was not used by any backup software so far.
Please include the dump file in your regular backup procedure to ensure that, in case of a crash, your Harmony data can be restored. |  |  | <message type="warning" identifier="">
The archive flag of the file has not been set yet. Dump was successfully created in 'C:\ProgramData\PerkinElmer\ODA_DATA\Backup\05-Oda.bak'. |  |  | <title>The analysis sequence has become incompatible with the selected input data.</title>
Indicator: The archive flag of the file was not set. Please make sure that the file is included in your regular backup procedure. Errorcode: 11 |  |  | <text>The following expected channels are missing:
------------------- |  |  |  | - HOECHST 33342 (Filter Image (2), Filter Image).</text>
Information |  |  | <technical_info>
2/25/2022 11:01:46 PM |  |  | </technical_info>
Flatfield correction profile estimation completed (available method: 'Advanced') for '220225_211924-V – Measurement 1b'. |  |  | </message>
-------------------
------------------- |  |  | Information
Information |  |  | 2/27/2022 1:49:30 PM
2/25/2022 11:03:34 PM |  |  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_133447-V – Measurement 1a'.
Acquiring image alignment parameters… The measurement will be started subsequently.
-------------------
------------------- |  |  | Information
Information |  |  | 2/27/2022 2:00:05 PM
2/25/2022 11:03:51 PM |  |  | Acquiring image alignment parameters… The measurement will be started subsequently.
Flatfield correction profile estimation started for '220225_230433-V – Measurement 1a'.
-------------------
------------------- |  |  | Information
Warning |  |  | 2/27/2022 2:01:22 PM
2/25/2022 11:03:57 PM |  |  | Flatfield correction profile estimation started for '220227_133447-V – Measurement 1b'.
The analysis sequence has become incompatible with the selected input data.
The following expected channels are missing:
| - HOECHST 33342 (Filter Image (2), Filter Image). |  | -------------------
Warning
2/27/2022 2:01:43 PM
Original Acapella Message: |  |  | Focus failure in Well A2, Field 1/166, Timepoint 1
Please check if you selected the correct plate type and/or verify the H & I values of the plate type with the Scan H&I function. For more information on focus failures see also help topic "Focus Failure"
<message type="warning" identifier=""> |  |  | FocusException: focus exception: {"step 1": {"message": "building droplet objective: 20x Water, NA 1.0"}}
<title>The analysis sequence has become incompatible with the selected input data.</title> |  |  | {"step 2": {"message": "peak at scan edge. ", "explanation": "peak at position: 135.576 mm., scan end: 135.573 mm. ", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
<text>The following expected channels are missing: |  |  | {"step 3": {"message": "orientation_scan sequence escalation."}}
| - HOECHST 33342 (Filter Image (2), Filter Image).</text> |  | {"step 4": {"message": "afl set max power[%]: 100"}}
<technical_info> |  |  | {"step 5": {"message": "building droplet objective: 20x Water, NA 1.0"}}
</technical_info> |  |  | {"step 6": {"message": "peak at scan edge. ", "explanation": "peak at position: 135.576 mm., scan end: 135.573 mm. ", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
</message> |  |  | -------------------
Warning
------------------- |  |  | 2/27/2022 2:01:52 PM
Information |  |  | Focus failure in Well A2, Field 2/166, Timepoint 1
2/25/2022 11:20:16 PM |  |  | Please check if you selected the correct plate type and/or verify the H & I values of the plate type with the Scan H&I function. For more information on focus failures see also help topic "Focus Failure"
Flatfield correction profile estimation completed (available method: 'Advanced') for '220225_230433-V – Measurement 1a'. |  |  | FocusException: focus exception: {"step 1": {"message": "peak at scan edge. ", "explanation": "peak at position: 135.576 mm., scan end: 135.573 mm. ", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
{"step 2": {"message": "orientation_scan sequence escalation."}}
{"step 3": {"message": "afl set max power[%]: 100"}}
------------------- |  |  | {"step 4": {"message": "building droplet objective: 20x Water, NA 1.0"}}
Information |  |  | {"step 5": {"message": "peak at scan edge. ", "explanation": "peak at position: 135.578 mm., scan end: 135.573 mm. ", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
2/25/2022 11:34:36 PM |  |  | -------------------
Acquiring image alignment parameters… The measurement will be started subsequently. |  |  | Warning
2/27/2022 2:02:00 PM
Focus failure in Well A2, Field 3/166, Timepoint 1
------------------- |  |  | Please check if you selected the correct plate type and/or verify the H & I values of the plate type with the Scan H&I function. For more information on focus failures see also help topic "Focus Failure"
Information |  |  | FocusException: focus exception: {"step 1": {"message": "peak at scan edge. ", "explanation": "peak at position: 135.576 mm., scan end: 135.573 mm. ", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
2/25/2022 11:35:55 PM |  |  | {"step 2": {"message": "orientation_scan sequence escalation."}}
Flatfield correction profile estimation started for '220225_230433-V – Measurement 1b'. |  |  | {"step 3": {"message": "afl set max power[%]: 100"}}
{"step 4": {"message": "building droplet objective: 20x Water, NA 1.0"}}
{"step 5": {"message": "peak at scan edge. ", "explanation": "peak at position: 135.578 mm., scan end: 135.573 mm. ", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
------------------- |  |  | -------------------
Information |  |  | Information
2/26/2022 2:26:39 AM |  |  | 2/27/2022 2:02:00 PM
Flatfield correction profile estimation completed (available method: 'Advanced') for '220225_230433-V – Measurement 1b'. |  |  | Flatfield correction profile estimation incomplete for '220227_133447-V – Measurement 1b'.
It was not possible to determine the background profile for Channel 'DAPI', 'Opal 650', 'Opal 520', 'Opal 570', 'Atto 425'.
------------------- |  |  | -------------------
Information |  |  | Error
2/26/2022 2:28:16 AM |  |  | 2/27/2022 2:02:00 PM
Acquiring image alignment parameters… The measurement will be started subsequently. |  |  | The measurement has been aborted due to focus failures in 1 consecutive well(s).
Traceback (most recent call last):
------------------- |  |  | File "dc\common\curio_wrappers.py", line 77, in join_task
Information |  |  | File "curio\task.py", line 191, in join
2/26/2022 2:28:34 AM |  |  | curio.errors.TaskError: Task crash
Flatfield correction profile estimation started for '220226_022917-V – Measurement 1a'.
The above exception was the direct cause of the following exception:
------------------- |  |  | Traceback (most recent call last):
Warning |  |  | File "dc\hci\base_device\instructions.py", line 240, in _Run
2/26/2022 2:28:39 AM |  |  | File "dc\common\curio_wrappers.py", line 81, in join_task
The analysis sequence has become incompatible with the selected input data. |  |  | File "curio\kernel.py", line 731, in kernel_run
The following expected channels are missing: |  |  | File "curio\task.py", line 171, in send
| - HOECHST 33342 (Filter Image (2), Filter Image). |  | File "curio\task.py", line 175, in _task_runner
File "dc\hci\measure.py", line 431, in _run
File "dc\hci\measure.py", line 487, in _measure_plate_repeats
Original Acapella Message: |  |  | File "dc\hci\measure.py", line 536, in _measure_plate
dc.common.exceptions.FocusExceptionMeasurementError: The measurement has been aborted due to focus failures in 1 consecutive well(s).
<message type="warning" identifier="">
<title>The analysis sequence has become incompatible with the selected input data.</title> |  |  | -------------------
<text>The following expected channels are missing: |  |  | Information
| - HOECHST 33342 (Filter Image (2), Filter Image).</text> |  | 2/27/2022 2:03:19 PM
<technical_info> |  |  | Acquiring image alignment parameters… The measurement will be started subsequently.
</technical_info>
</message>
-------------------
------------------- |  |  | Information
Information |  |  | 2/27/2022 2:03:36 PM
2/26/2022 2:44:57 AM |  |  | Flatfield correction profile estimation started for '220227_140419-V – Measurement 1a'.
Flatfield correction profile estimation completed (available method: 'Advanced') for '220226_022917-V – Measurement 1a'.
-------------------
------------------- |  |  | Warning
Information |  |  | 2/27/2022 2:03:41 PM
2/26/2022 2:55:46 AM |  |  | The analysis sequence has become incompatible with the selected input data.
Acquiring image alignment parameters… The measurement will be started subsequently. |  |  | The following expected channels are missing:
- HOECHST 33342 (Filter Image (2), Filter Image).
-------------------
Information |  |  | Original Acapella Message:
2/26/2022 2:57:03 AM
Flatfield correction profile estimation started for '220226_022917-V – Measurement 1b'. |  |  | <message type="warning" identifier="">
<title>The analysis sequence has become incompatible with the selected input data.</title>
<text>The following expected channels are missing:
------------------- |  |  |  | - HOECHST 33342 (Filter Image (2), Filter Image).</text>
Warning |  |  | <technical_info>
2/26/2022 3:37:24 AM |  |  | </technical_info>
Focus failure in Well A2, Field 262/981, Timepoint 1 |  |  | </message>
Please check if you selected the correct plate type and/or verify the H & I values of the plate type with the Scan H&I function. For more information on focus failures see also help topic "Focus Failure"
FocusException: focus exception: {"step 1": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "short", "start": 135.49449714783555, "range": 0.16}}} |  |  | -------------------
{"step 2": {"message": "short scan sequence escalation: stretch scan by 100 microns on each side."}} |  |  | Information
{"step 3": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "short", "start": 135.39449714783555, "range": 0.36}}} |  |  | 2/27/2022 2:19:04 PM
{"step 4": {"message": "autofocus escalation: short scan failed. initiate orientation scan sequence."}} |  |  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_140419-V – Measurement 1a'.
{"step 5": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
{"step 6": {"message": "orientation_scan sequence escalation."}}
{"step 7": {"message": "afl set max power[%]: 100"}} |  |  | -------------------
{"step 8": {"message": "building droplet objective: 20x Water, NA 1.0"}} |  |  | Information
{"step 9": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}} |  |  | 2/27/2022 2:30:49 PM
------------------- |  |  | Acquiring image alignment parameters… The measurement will be started subsequently.
Information
2/26/2022 5:28:49 AM
Flatfield correction profile estimation completed (available method: 'Basic') for '220226_022917-V – Measurement 1b'. |  |  | -------------------
It was not possible to determine the foreground profile for Channel 'DAPI', 'Opal 650', 'Opal 520', 'Opal 570', 'Atto 425'. |  |  | Information
2/27/2022 2:32:05 PM
------------------- |  |  | Flatfield correction profile estimation started for '220227_140419-V – Measurement 1b'.
Information
2/26/2022 5:30:28 AM
Acquiring image alignment parameters… The measurement will be started subsequently. |  |  | -------------------
Information
2/27/2022 2:49:30 PM
------------------- |  |  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_140419-V – Measurement 1b'.
Information
2/26/2022 5:30:46 AM
Flatfield correction profile estimation started for '220226_053124-V – Measurement 1a'. |  |  | -------------------
Information
2/27/2022 2:50:54 PM
------------------- |  |  | Acquiring image alignment parameters… The measurement will be started subsequently.
Warning
2/26/2022 5:30:52 AM
The analysis sequence has become incompatible with the selected input data. |  |  | -------------------
The following expected channels are missing: |  |  | Information
| - HOECHST 33342 (Filter Image (2), Filter Image). |  | 2/27/2022 2:51:11 PM
Flatfield correction profile estimation started for '220227_145150-V – Measurement 1a'.
Original Acapella Message:
-------------------
<message type="warning" identifier=""> |  |  | Warning
<title>The analysis sequence has become incompatible with the selected input data.</title> |  |  | 2/27/2022 2:51:17 PM
<text>The following expected channels are missing: |  |  | The analysis sequence has become incompatible with the selected input data.
| - HOECHST 33342 (Filter Image (2), Filter Image).</text> |  | The following expected channels are missing:
<technical_info> |  |  |  | - HOECHST 33342 (Filter Image (2), Filter Image).
</technical_info>
</message>
Original Acapella Message:
-------------------
Information |  |  | <message type="warning" identifier="">
2/26/2022 5:47:12 AM |  |  | <title>The analysis sequence has become incompatible with the selected input data.</title>
Flatfield correction profile estimation completed (available method: 'Basic') for '220226_053124-V – Measurement 1a'. |  |  | <text>The following expected channels are missing:
It was not possible to determine the foreground profile for Channel 'HOECHST 33342'. |  |  |  | - HOECHST 33342 (Filter Image (2), Filter Image).</text>
<technical_info>
------------------- |  |  | </technical_info>
Information |  |  | </message>
2/26/2022 5:59:04 AM
Acquiring image alignment parameters… The measurement will be started subsequently. |  |  | -------------------
Warning
2/27/2022 2:51:18 PM
------------------- |  |  | Focus failure in Well A2, Field 1/480, Timepoint 1
Information |  |  | Please check if you selected the correct plate type and/or verify the H & I values of the plate type with the Scan H&I function. For more information on focus failures see also help topic "Focus Failure"
2/26/2022 6:00:21 AM |  |  | FocusException: focus exception: {"step 1": {"message": "peak at scan edge. ", "explanation": "peak at position: 135.578 mm., scan end: 135.573 mm. ", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
Flatfield correction profile estimation started for '220226_053124-V – Measurement 1b'. |  |  | {"step 2": {"message": "orientation_scan sequence escalation."}}
{"step 3": {"message": "afl set max power[%]: 100"}}
{"step 4": {"message": "peak at scan edge. ", "explanation": "peak at position: 135.578 mm., scan end: 135.573 mm. ", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
------------------- |  |  | -------------------
Information |  |  | Information
2/26/2022 6:01:30 AM |  |  | 2/27/2022 3:06:43 PM
Flatfield correction profile estimation completed (available method: 'None') for '220226_053124-V – Measurement 1b'. |  |  | Flatfield correction profile estimation completed (available method: 'Basic') for '220227_145150-V – Measurement 1a'.
It was not possible to determine the background profile for Channel 'DAPI', 'Atto 425'. |  |  | It was not possible to determine the foreground profile for Channel 'HOECHST 33342'.
------------------- |  |  | -------------------
Information |  |  | Information
2/26/2022 6:02:49 AM |  |  | 2/27/2022 3:18:44 PM
Acquiring image alignment parameters… The measurement will be started subsequently. |  |  | Acquiring image alignment parameters… The measurement will be started subsequently.
------------------- |  |  | -------------------
Information |  |  | Information
2/26/2022 6:03:06 AM |  |  | 2/27/2022 3:20:01 PM
Flatfield correction profile estimation started for '220226_060351-V – Measurement 1a'. |  |  | Flatfield correction profile estimation started for '220227_145150-V – Measurement 1b'.
------------------- |  |  | -------------------
Warning |  |  | Warning
2/26/2022 6:03:11 AM |  |  | 2/27/2022 3:20:23 PM
The analysis sequence has become incompatible with the selected input data. |  |  | Focus failure in Well A2, Field 1/107, Timepoint 1
The following expected channels are missing: |  |  | Please check if you selected the correct plate type and/or verify the H & I values of the plate type with the Scan H&I function. For more information on focus failures see also help topic "Focus Failure"
| - HOECHST 33342 (Filter Image (2), Filter Image). |  | FocusException: focus exception: {"step 1": {"message": "building droplet objective: 20x Water, NA 1.0"}}
{"step 2": {"message": "peak at scan edge. ", "explanation": "peak at position: 135.577 mm., scan end: 135.573 mm. ", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
{"step 3": {"message": "orientation_scan sequence escalation."}}
Original Acapella Message: |  |  | {"step 4": {"message": "afl set max power[%]: 100"}}
{"step 5": {"message": "building droplet objective: 20x Water, NA 1.0"}}
<message type="warning" identifier=""> |  |  | {"step 6": {"message": "peak at scan edge. ", "explanation": "peak at position: 135.575 mm., scan end: 135.573 mm. ", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
<title>The analysis sequence has become incompatible with the selected input data.</title> |  |  | -------------------
<text>The following expected channels are missing: |  |  | Warning
| - HOECHST 33342 (Filter Image (2), Filter Image).</text> |  | 2/27/2022 3:20:31 PM
<technical_info> |  |  | Focus failure in Well A2, Field 2/107, Timepoint 1
</technical_info> |  |  | Please check if you selected the correct plate type and/or verify the H & I values of the plate type with the Scan H&I function. For more information on focus failures see also help topic "Focus Failure"
</message> |  |  | FocusException: focus exception: {"step 1": {"message": "peak at scan edge. ", "explanation": "peak at position: 135.577 mm., scan end: 135.573 mm. ", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
{"step 2": {"message": "orientation_scan sequence escalation."}}
------------------- |  |  | {"step 3": {"message": "afl set max power[%]: 100"}}
Information |  |  | {"step 4": {"message": "building droplet objective: 20x Water, NA 1.0"}}
2/26/2022 6:19:28 AM |  |  | {"step 5": {"message": "peak at scan edge. ", "explanation": "peak at position: 135.571 mm., scan end: 135.573 mm. ", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
Flatfield correction profile estimation completed (available method: 'Advanced') for '220226_060351-V – Measurement 1a'. |  |  | -------------------
Information
2/27/2022 3:36:30 PM
------------------- |  |  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_145150-V – Measurement 1b'.
Information
2/26/2022 6:30:21 AM
Acquiring image alignment parameters… The measurement will be started subsequently. |  |  | -------------------
Information
2/27/2022 3:37:48 PM
------------------- |  |  | Acquiring image alignment parameters… The measurement will be started subsequently.
Information
2/26/2022 6:31:39 AM
Flatfield correction profile estimation started for '220226_060351-V – Measurement 1b'. |  |  | -------------------
Information
2/27/2022 3:38:06 PM
------------------- |  |  | Flatfield correction profile estimation started for '220227_153849-V – Measurement 1a'.
Warning
2/26/2022 8:32:46 AM
Focus failure in Well A2, Field 790/896, Timepoint 1 |  |  | -------------------
Please check if you selected the correct plate type and/or verify the H & I values of the plate type with the Scan H&I function. For more information on focus failures see also help topic "Focus Failure" |  |  | Warning
FocusException: focus exception: {"step 1": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "short", "start": 135.41764923110148, "range": 0.16}}} |  |  | 2/27/2022 3:38:11 PM
{"step 2": {"message": "short scan sequence escalation: stretch scan by 100 microns on each side."}} |  |  | The analysis sequence has become incompatible with the selected input data.
{"step 3": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "short", "start": 135.31764923110148, "range": 0.36}}} |  |  | The following expected channels are missing:
{"step 4": {"message": "autofocus escalation: short scan failed. initiate orientation scan sequence."}} |  |  |  | - HOECHST 33342 (Filter Image (2), Filter Image).
{"step 5": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
{"step 6": {"message": "orientation_scan sequence escalation."}}
{"step 7": {"message": "afl set max power[%]: 100"}} |  |  | Original Acapella Message:
{"step 8": {"message": "building droplet objective: 20x Water, NA 1.0"}}
{"step 9": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}} |  |  | <message type="warning" identifier="">
------------------- |  |  | <title>The analysis sequence has become incompatible with the selected input data.</title>
Warning |  |  | <text>The following expected channels are missing:
2/26/2022 8:32:55 AM |  |  |  | - HOECHST 33342 (Filter Image (2), Filter Image).</text>
Focus failure in Well A2, Field 791/896, Timepoint 1 |  |  | <technical_info>
Please check if you selected the correct plate type and/or verify the H & I values of the plate type with the Scan H&I function. For more information on focus failures see also help topic "Focus Failure" |  |  | </technical_info>
FocusException: focus exception: {"step 1": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "short", "start": 135.4178848387226, "range": 0.16}}} |  |  | </message>
{"step 2": {"message": "short scan sequence escalation: stretch scan by 100 microns on each side."}}
{"step 3": {"message": "peak at scan edge. ", "explanation": "position: 135.309 mm., scan start: 135.318 mm. ", "scan": {"type": "short", "start": 135.31788483872262, "range": 0.36}}} |  |  | -------------------
{"step 4": {"message": "autofocus escalation: short scan failed. initiate orientation scan sequence."}} |  |  | Information
{"step 5": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}} |  |  | 2/27/2022 3:53:33 PM
{"step 6": {"message": "orientation_scan sequence escalation."}} |  |  | Flatfield correction profile estimation completed (available method: 'Basic') for '220227_153849-V – Measurement 1a'.
{"step 7": {"message": "afl set max power[%]: 100"}} |  |  | It was not possible to determine the foreground profile for Channel 'HOECHST 33342'.
{"step 8": {"message": "building droplet objective: 20x Water, NA 1.0"}}
{"step 9": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}} |  |  | -------------------
------------------- |  |  | Information
Information |  |  | 2/27/2022 4:03:17 PM
2/26/2022 8:49:15 AM |  |  | Acquiring image alignment parameters… The measurement will be started subsequently.
Flatfield correction profile estimation completed (available method: 'Advanced') for '220226_060351-V – Measurement 1b'.
-------------------
------------------- |  |  | Information
Information |  |  | 2/27/2022 4:04:32 PM
2/26/2022 8:50:49 AM |  |  | Retry of image alignment procedure at different position is performed…
Acquiring image alignment parameters… The measurement will be started subsequently. |  |  | Missing dots
There were not enough dots in sector B3 of image F1P10C1 [59-113-510-118-97-21-414-1111.tiff]: Expected 21-41, but got 8
Error processing SkewcropAnalyse.script
-------------------
Information |  |  | <!>C:/Program Files/PerkinElmer/Harmony 5.1/ACScripts/HarmonyServicePlugin/Scripts/SkewcropAnalyse.script(85) [::AnalyzeDataOrReadCache]:
2/26/2022 8:51:07 AM |  |  | <!>C:/Program Files/PerkinElmer/Harmony 5.1/ACScripts/HarmonyServicePlugin/Scripts/SkewcropAnalyse.script(322) [UI::P_error]:
Flatfield correction profile estimation started for '220226_085149-V – Measurement 1a'. |  |  | <!>C:/Program Files/PerkinElmer/Harmony 5.1/ACServ/AcapellaResources/AcapellaUserInterface/ProcLib/UI/protocol.proc(462) [::Error]:
Original Acapella Message:
-------------------
Warning |  |  | <message type="error" identifier="analysis failure">
2/26/2022 8:51:12 AM |  |  | <title>Missing dots</title>
The analysis sequence has become incompatible with the selected input data. |  |  | <text>There were not enough dots in sector B3 of image F1P10C1 [59-113-510-118-97-21-414-1111.tiff]: Expected 21-41, but got 8</text>
The following expected channels are missing: |  |  | <technical_info>Error processing SkewcropAnalyse.script
- HOECHST 33342 (Filter Image (2), Filter Image).
<!>C:/Program Files/PerkinElmer/Harmony 5.1/ACScripts/HarmonyServicePlugin/Scripts/SkewcropAnalyse.script(85) [::AnalyzeDataOrReadCache]:
<!>C:/Program Files/PerkinElmer/Harmony 5.1/ACScripts/HarmonyServicePlugin/Scripts/SkewcropAnalyse.script(322) [UI::P_error]:
Original Acapella Message: |  |  | <!>C:/Program Files/PerkinElmer/Harmony 5.1/ACServ/AcapellaResources/AcapellaUserInterface/ProcLib/UI/protocol.proc(462) [::Error]: </technical_info>
</message>
<message type="warning" identifier="">
<title>The analysis sequence has become incompatible with the selected input data.</title> |  |  | -------------------
<text>The following expected channels are missing: |  |  | Information
| - HOECHST 33342 (Filter Image (2), Filter Image).</text> |  | 2/27/2022 4:06:10 PM
<technical_info> |  |  | Flatfield correction profile estimation started for '220227_153849-V – Measurement 1b'.
</technical_info>
</message>
-------------------
------------------- |  |  | Information
Information |  |  | 2/27/2022 4:27:21 PM
2/26/2022 9:07:51 AM |  |  | Flatfield correction profile estimation completed (available method: 'Advanced') for '220227_153849-V – Measurement 1b'.
Flatfield correction profile estimation completed (available method: 'Advanced') for '220226_085149-V – Measurement 1a'.
-------------------
------------------- |  |  | Information
Information |  |  | 2/27/2022 4:28:40 PM
2/26/2022 9:20:55 AM |  |  | Acquiring image alignment parameters… The measurement will be started subsequently.
Acquiring image alignment parameters… The measurement will be started subsequently.
-------------------
------------------- |  |  | Information
Information |  |  | 2/27/2022 4:28:57 PM
2/26/2022 9:22:13 AM |  |  | Flatfield correction profile estimation started for '220227_162940-V – Measurement 1a'.
Flatfield correction profile estimation started for '220226_085149-V – Measurement 1b'.
-------------------
------------------- |  |  | Warning
Warning |  |  | 2/27/2022 4:29:03 PM
2/26/2022 10:32:31 AM |  |  | The analysis sequence has become incompatible with the selected input data.
Focus failure in Well A2, Field 462/1054, Timepoint 1 |  |  | The following expected channels are missing:
Please check if you selected the correct plate type and/or verify the H & I values of the plate type with the Scan H&I function. For more information on focus failures see also help topic "Focus Failure" |  |  |  | - HOECHST 33342 (Filter Image (2), Filter Image).
FocusException: focus exception: {"step 1": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "short", "start": 135.45987562248803, "range": 0.16}}}
{"step 2": {"message": "short scan sequence escalation: stretch scan by 100 microns on each side."}}
{"step 3": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "short", "start": 135.35987562248803, "range": 0.36}}} |  |  | Original Acapella Message:
{"step 4": {"message": "autofocus escalation: short scan failed. initiate orientation scan sequence."}}
{"step 5": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}} |  |  | <message type="warning" identifier="">
{"step 6": {"message": "orientation_scan sequence escalation."}} |  |  | <title>The analysis sequence has become incompatible with the selected input data.</title>
{"step 7": {"message": "afl set max power[%]: 100"}} |  |  | <text>The following expected channels are missing:
{"step 8": {"message": "building droplet objective: 20x Water, NA 1.0"}} |  |  |  | - HOECHST 33342 (Filter Image (2), Filter Image).</text>
{"step 9": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}} |  |  | <technical_info>
------------------- |  |  | </technical_info>
Warning |  |  | </message>
2/26/2022 10:32:40 AM
Focus failure in Well A2, Field 463/1054, Timepoint 1 |  |  | -------------------
Please check if you selected the correct plate type and/or verify the H & I values of the plate type with the Scan H&I function. For more information on focus failures see also help topic "Focus Failure" |  |  | Information
FocusException: focus exception: {"step 1": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "short", "start": 135.46088087941123, "range": 0.16}}} |  |  | 2/27/2022 4:44:29 PM
{"step 2": {"message": "short scan sequence escalation: stretch scan by 100 microns on each side."}} |  |  | Flatfield correction profile estimation completed (available method: 'Basic') for '220227_162940-V – Measurement 1a'.
{"step 3": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "short", "start": 135.36088087941124, "range": 0.36}}} |  |  | It was not possible to determine the foreground profile for Channel 'HOECHST 33342'.
{"step 4": {"message": "autofocus escalation: short scan failed. initiate orientation scan sequence."}}
{"step 5": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}} |  |  | -------------------
{"step 6": {"message": "orientation_scan sequence escalation."}} |  |  | Information
{"step 7": {"message": "afl set max power[%]: 100"}} |  |  | 2/27/2022 4:54:55 PM
{"step 8": {"message": "building droplet objective: 20x Water, NA 1.0"}} |  |  | Acquiring image alignment parameters… The measurement will be started subsequently.
{"step 9": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
-------------------
Warning |  |  | -------------------
2/26/2022 10:32:49 AM |  |  | Information
Focus failure in Well A2, Field 464/1054, Timepoint 1 |  |  | 2/27/2022 4:56:12 PM
Please check if you selected the correct plate type and/or verify the H & I values of the plate type with the Scan H&I function. For more information on focus failures see also help topic "Focus Failure" |  |  | Flatfield correction profile estimation started for '220227_162940-V – Measurement 1b'.
FocusException: focus exception: {"step 1": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "short", "start": 135.46088087941123, "range": 0.16}}}
{"step 2": {"message": "short scan sequence escalation: stretch scan by 100 microns on each side."}}
{"step 3": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "short", "start": 135.36088087941124, "range": 0.36}}}
{"step 4": {"message": "autofocus escalation: short scan failed. initiate orientation scan sequence."}}
{"step 5": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
{"step 6": {"message": "orientation_scan sequence escalation."}}
{"step 7": {"message": "afl set max power[%]: 100"}}
{"step 8": {"message": "building droplet objective: 20x Water, NA 1.0"}}
{"step 9": {"message": "Plate peaks not found.", "explanation": "expected peak count: 1, measured peak count: 0", "scan": {"type": "orientation", "start": 134.7729, "range": 0.8}}}
-------------------
Error
2/26/2022 10:32:52 AM
The measurement has been aborted due to focus failures in 1 consecutive well(s).
Traceback (most recent call last):
File "dc\common\curio_wrappers.py", line 77, in join_task
File "curio\task.py", line 191, in join
curio.errors.TaskError: Task crash
The above exception was the direct cause of the following exception:
Traceback (most recent call last):
File "dc\hci\base_device\instructions.py", line 240, in _Run
File "dc\common\curio_wrappers.py", line 81, in join_task
File "curio\kernel.py", line 731, in kernel_run
File "curio\task.py", line 171, in send
File "curio\task.py", line 175, in _task_runner
File "dc\hci\measure.py", line 431, in _run
File "dc\hci\measure.py", line 487, in _measure_plate_repeats
File "dc\hci\measure.py", line 536, in _measure_plate
dc.common.exceptions.FocusExceptionMeasurementError: The measurement has been aborted due to focus failures in 1 consecutive well(s).
-------------------
Information
2/26/2022 10:32:56 AM
Flatfield correction profile estimation completed (available method: 'Basic') for '220226_085149-V – Measurement 1b'.
It was not possible to determine the foreground profile for Channel 'Opal 650'.
-------------------
Information
2/26/2022 10:34:16 AM
Acquiring image alignment parameters… The measurement will be started subsequently.
-------------------
Information
2/26/2022 10:34:33 AM
Flatfield correction profile estimation started for '220226_103518-V – Measurement 1a'.
-------------------
Warning
2/26/2022 10:34:39 AM
The analysis sequence has become incompatible with the selected input data.
The following expected channels are missing:
- HOECHST 33342 (Filter Image (2), Filter Image).
Original Acapella Message:
<message type="warning" identifier="">
<title>The analysis sequence has become incompatible with the selected input data.</title>
<text>The following expected channels are missing:
- HOECHST 33342 (Filter Image (2), Filter Image).</text>
<technical_info>
</technical_info>
</message>
-------------------
Information
2/26/2022 10:35:14 AM
Flatfield correction profile estimation completed (available method: 'Advanced') for '220226_103518-V – Measurement 1a'.
-------------------
Information
2/26/2022 11:03:29 AM
Acquiring image alignment parameters… The measurement will be started subsequently.
-------------------
Information
2/26/2022 11:04:46 AM
Flatfield correction profile estimation started for '220226_103518-V – Measurement 1b'.